# Consultant review pack

Chapter 5.5 MRI of the Knee

Generated from the pages themselves by tools/review_pack.py. Fill the Decision column and your name; every other cell is rewritten when the pack is regenerated.

| Field | Value |
| --- | --- |
| Section | 5 |
| Chapter | 5.5 MRI of the Knee |
| Pages | 13 |
| Page type | imaging |
| Tiers | medical student, mrcs, frcs, fellowship |
| Words | 16,502 |
| Style gate | all pages pass, 0 warnings |
| Evidence verification | did not run on any page |
| Measurements to check | 0 |
| Recommendations to sign | 50 |

# What has not happened

No source was retrieved for any page in this chapter. The build environment has no access to PubMed, Cochrane, a journal or a textbook, so the pipeline's fact checking stage could not run. Every page carries NOT_RUN_TOOLS_UNAVAILABLE in its verified handoff.

This pack therefore stands in for the verification stage as well as for the review stage. A claim here has been checked by nobody.

# The pages

| Page | Title | Tiers | Words | Published as |
| --- | --- | --- | --- | --- |
| 5.5.1 | Standard Protocol | 4 | 1,315 | imaging/standard-mri-protocol.html |
| 5.5.2 | Sports Knee Protocol | 4 | 1,337 | imaging/sports-knee-protocol.html |
| 5.5.3 | Post-operative Protocol | 4 | 1,291 | imaging/post-operative-protocol.html |
| 5.5.4 | Paediatric Protocol | 4 | 1,324 | imaging/paediatric-protocol.html |
| 5.5.5 | Tumour Protocol | 4 | 1,306 | imaging/tumour-protocol.html |
| 5.5.6 | Bones | 4 | 1,192 | imaging/mri-bones.html |
| 5.5.7 | Cartilage | 4 | 1,247 | imaging/mri-cartilage.html |
| 5.5.8 | Menisci | 4 | 1,250 | imaging/mri-menisci.html |
| 5.5.9 | Ligaments | 4 | 1,251 | imaging/mri-ligaments.html |
| 5.5.10 | Tendons | 4 | 1,260 | imaging/mri-tendons.html |
| 5.5.11 | Synovium | 4 | 1,151 | imaging/mri-synovium.html |
| 5.5.12 | Bursa | 4 | 1,236 | imaging/mri-bursa.html |
| 5.5.13 | Neurovascular Structures | 4 | 1,342 | imaging/mri-neurovascular-structures.html |

# Claims to confirm

The deepest tier's key learning points on each page, which are the chapter's substantive claims. Every other statement in the body needs the same check; these are where to start.

## 5.5.1 Standard Protocol

Protocols differ between departments and the report does not say how.

Two reports on the same knee are not comparable.

The grading conventions were derived on particular weightings.

Isotropic acquisition and acceleration both change the images again.

State the question on the request and ask for the protocol when it matters.

## 5.5.2 Sports Knee Protocol

The detection gap is established and the protocol changes it.

The limiting factor is the request and availability, not knowledge.

A better acquisition feeds a weakly defined partial tear diagnosis.

Protocol content varies under the same name.

Name the suspected lesion rather than the protocol.

## 5.5.3 Post-operative Protocol

The protocol cannot be selected without knowing the implant.

A clinical communication failure becomes an imaging failure.

Artefact reduction has advanced unevenly and is not reported.

Those techniques alter the bone the measurements are made on.

Naming the implant is the cheapest improvement and the least often done.

## 5.5.4 Paediatric Protocol

The normal reference is a trajectory rather than a single standard.

No report states the age dependent expectation used.

Red marrow variation widens the normal in the population imaged for sport.

Measuring the proportion of physis involved is not reliable routinely.

Automated reading is trained predominantly on adult knees.

## 5.5.5 Tumour Protocol

A study adequate for the knee and inadequate for the lesion is worse than none.

A biopsy route chosen without staging can enlarge the operation.

Most incidental marrow abnormality is not tumour.

Advanced characterisation does not replace histology.

The imaging's job is a well informed referral.

## 5.5.6 Bones

Marrow oedema is found in asymptomatic and nearly all symptomatic knees.

Population level associations are applied to individuals.

The normal red marrow boundary is wide and moves.

Distribution and symmetry rather than signal are the discriminators.

A qualitative finding is used quantitatively.

## 5.5.7 Cartilage

Morphology detects a defect and says nothing about mechanical state.

Compositional sequences do not transfer between sequences and field strengths.

Grading systems were derived on particular sequences.

Cartilage is measured unloaded and deforms under load.

The only modality that images cartilage images its shape.

## 5.5.8 Menisci

The imaging performs best where management is least ambiguous.

Intermediate signal in an older meniscus has no agreed meaning.

That population is where a report most often leads to an unsupported intervention.

The ambiguity is partly a protocol artefact.

Name the imitators excluded, report intermediate as intermediate, measure extrusion.

## 5.5.9 Ligaments

A continuous ligament can be functionally lax.

Normal ligament signal has no agreed definition.

The least reproducible call is a definitional problem.

Knee position is not recorded and cannot be corrected for.

Isotropic acquisition removes the oblique plane problem.

## 5.5.10 Tendons

The two modalities are complementary and treated as alternatives.

Both have an orientation dependent false positive from different physics.

Both are confounded by the appearance occurring without symptoms.

Ultra short echo time imaging changes the problem rather than removing it.

Ultrasound for an isolated tendon, this modality when anything else is in question.

## 5.5.11 Synovium

The answering study needs contrast the routine protocol omits.

The request rarely says a synovial question is being asked.

Synovitis occurs in mechanically driven arthritis too.

Quantitative synovial measurement is not routine.

Ultrasound with Doppler assesses activity and is rarely used alongside.

## 5.5.12 Bursa

Sensitivity produces a list rather than a diagnosis.

Each reported item imposes a cost without a benefit.

The popliteal cyst's cause is the actual finding and is often omitted.

Ultrasound is the better modality for an isolated bursal question.

Say explicitly when fluid is within normal limits.

## 5.5.13 Neurovascular Structures

They are in every field of view and outside almost every question.

They are reviewed by habit rather than by protocol, and habits vary.

Low frequency and high consequence is the worst combination for habit.

A mandatory report field would close the gap and no template has one.

What a study does not show is usually a choice rather than a limit.

# Measurements

No unchecked measurement in this chapter.

# Recommendations

Each sentence below tells a clinician what to do, on a page that carries no name. Allowed decisions: CONFIRMED, AMENDED, WITHDRAWN, NOT_CLINICAL. New wording for an amended sentence goes in the Note column. The detector over collects on purpose, so a sentence that is teaching rather than clinical direction is marked NOT_CLINICAL.

| Ref | Page | Tier | Sentence | Decision | Reviewer | Note |
| --- | --- | --- | --- | --- | --- | --- |
| 5.5.1-P1 | 5.5.1 | medical_student | Use a dedicated knee coil and position the knee in slight flexion with external rotation, which brings the cruciate into plane. |  |  |  |
| 5.5.1-P2 | 5.5.1 | medical_student | Keep slice thickness small enough that a meniscus is not averaged with the fat beside it. |  |  |  |
| 5.5.1-P3 | 5.5.1 | mrcs | Say that the request should state the clinical question. |  |  |  |
| 5.5.2-P1 | 5.5.2 | medical_student | Add an oblique plane along the cruciate where a bundle level question is asked. |  |  |  |
| 5.5.2-P2 | 5.5.2 | medical_student | Accept the longer scan time, which is the cost and the reason it is not the default. |  |  |  |
| 5.5.2-P3 | 5.5.2 | mrcs | Say that it must be requested by name, since it is not the default. |  |  |  |
| 5.5.2-P4 | 5.5.2 | mrcs | Say that the request should state the suspected injury. |  |  |  |
| 5.5.3-P1 | 5.5.3 | medical_student | Use inversion recovery fat suppression, which does not depend on field uniformity. |  |  |  |
| 5.5.3-P2 | 5.5.3 | medical_student | Prefer spin echo sequences, since gradient echo sequences are more sensitive to field distortion. |  |  |  |
| 5.5.3-P3 | 5.5.3 | medical_student | Expect residual artefact and read around it rather than through it. |  |  |  |
| 5.5.3-P4 | 5.5.3 | frcs | A study acquired on the routine protocol in a metal bearing knee should be repeated rather than reported, which is a decision worth making early. |  |  |  |
| 5.5.4-P1 | 5.5.4 | medical_student | Use a smaller field of view and a coil matched to the limb, which maintains resolution in a smaller joint. |  |  |  |
| 5.5.4-P2 | 5.5.4 | medical_student | Expect red marrow and know its normal distribution for the age. |  |  |  |
| 5.5.4-P3 | 5.5.4 | medical_student | Avoid contrast unless the question requires it, which it usually does not. |  |  |  |
| 5.5.4-P4 | 5.5.4 | fellowship | Automated reading is trained predominantly on adult knees, so a paediatric study is the setting where it should be trusted least and where normal variation is greatest. |  |  |  |
| 5.5.5-P1 | 5.5.5 | medical_student | Do not biopsy or plan on this study alone, because a suspected tumour belongs to a specialist service. |  |  |  |
| 5.5.5-P2 | 5.5.5 | fellowship | The study's job is to route the patient, so a study that is adequate for the knee and inadequate for the lesion is worse than no study, because it supports a local decision that should not have been made. |  |  |  |
| 5.5.6-P1 | 5.5.6 | medical_student | Assess the marrow on a T1 weighted sequence, where replacement is most conspicuous. |  |  |  |
| 5.5.6-P2 | 5.5.6 | medical_student | Assess for oedema on a fat suppressed fluid sensitive sequence. |  |  |  |
| 5.5.6-P3 | 5.5.6 | medical_student | Assess the cortex as a dark line and accept that a fine cortical detail is a radiographic or computed tomography question. |  |  |  |
| 5.5.6-P4 | 5.5.6 | medical_student | Assess the subchondral plate separately, since it is where most knee marrow pathology sits. |  |  |  |
| 5.5.7-P1 | 5.5.7 | medical_student | Use a sequence with good contrast between cartilage and joint fluid, which the gradient echo family provides. |  |  |  |
| 5.5.7-P2 | 5.5.7 | medical_student | Use thin slices, because a thin layer is averaged with what is beside it. |  |  |  |
| 5.5.7-P3 | 5.5.7 | medical_student | Assess the surface separately from the substance, since a surface defect and an internal change are different findings. |  |  |  |
| 5.5.7-P4 | 5.5.7 | medical_student | Assess the subchondral plate and marrow alongside, because the two change together. |  |  |  |
| 5.5.8-P1 | 5.5.8 | medical_student | Assess on the intermediate weighted sequence, which gives the internal detail. |  |  |  |
| 5.5.8-P2 | 5.5.8 | medical_student | Assess in the sagittal and coronal planes, and confirm any finding on both. |  |  |  |
| 5.5.8-P3 | 5.5.8 | medical_student | Follow each horn to its root attachment, since the roots are at the edge of attention. |  |  |  |
| 5.5.8-P4 | 5.5.8 | medical_student | Assess the position of the body relative to the tibial margin. |  |  |  |
| 5.5.8-P5 | 5.5.8 | medical_student | - Each horn must be followed to its root. |  |  |  |
| 5.5.9-P1 | 5.5.9 | medical_student | Assess the cruciates on the sagittal images with the knee in slight external rotation, which brings the anterior cruciate into plane. |  |  |  |
| 5.5.9-P2 | 5.5.9 | medical_student | Confirm on the coronal and axial planes, because the sagittal plane alone can make a normal ligament disappear. |  |  |  |
| 5.5.9-P3 | 5.5.9 | medical_student | Assess the collaterals on the coronal images along their length. |  |  |  |
| 5.5.9-P4 | 5.5.9 | medical_student | Assess the posterolateral structures deliberately, since they are oblique and small. |  |  |  |
| 5.5.9-P5 | 5.5.9 | frcs | A ligament reported abnormal in a stable knee should be checked against the protocol and the position before it is believed. |  |  |  |
| 5.5.10-P1 | 5.5.10 | medical_student | Assess the extensor tendons on the sagittal images along their length. |  |  |  |
| 5.5.10-P2 | 5.5.10 | medical_student | Assess the hamstrings and popliteus on the axial and coronal images, where their courses are crossed. |  |  |  |
| 5.5.10-P3 | 5.5.10 | medical_student | Use a fluid sensitive sequence for peritendinous change and an intermediate weighting for the substance. |  |  |  |
| 5.5.10-P4 | 5.5.10 | medical_student | Check any bright tendon on a long echo time sequence, which is the direct test. |  |  |  |
| 5.5.10-P5 | 5.5.10 | mrcs | Say that a bright tendon must be checked on a long echo time sequence. |  |  |  |
| 5.5.10-P6 | 5.5.10 | frcs | A reported tendon abnormality in a functionally normal knee should be checked for the magic angle effect before anything else. |  |  |  |
| 5.5.11-P1 | 5.5.11 | medical_student | Assess for synovial thickening on the fluid sensitive sequences, where thickened synovium is distinguishable from fluid with difficulty. |  |  |  |
| 5.5.11-P2 | 5.5.11 | medical_student | Assess the recesses, since synovial proliferation collects in them. |  |  |  |
| 5.5.11-P3 | 5.5.11 | medical_student | Assess for loose bodies, which synovial processes generate. |  |  |  |
| 5.5.12-P1 | 5.5.12 | medical_student | Assess on the fluid sensitive sequences, where fluid is conspicuous. |  |  |  |
| 5.5.12-P2 | 5.5.12 | medical_student | Assess the suprapatellar region as a continuation of the joint rather than as a separate bursa, since it communicates. |  |  |  |
| 5.5.12-P3 | 5.5.12 | medical_student | Assess the semimembranosus and medial gastrocnemius interval, where a popliteal cyst arises. |  |  |  |
| 5.5.13-P1 | 5.5.13 | medical_student | Identify the popliteal vessels on the axial images, where their relationship to the capsule is clearest. |  |  |  |
| 5.5.13-P2 | 5.5.13 | medical_student | Follow the common peroneal nerve around the fibular neck, which is where it is vulnerable. |  |  |  |
| 5.5.13-P3 | 5.5.13 | medical_student | Follow the tibial nerve through the fossa. |  |  |  |

# How to return this

Send the file back. Each decision is read into the page's own register with:

python3 tools/review_pack.py --ingest docs/review/packs/chapter-5.5.docx

A row left blank stays outstanding and comes back in the next pack. One malformed row stops the whole file, so nothing is written half way.

The style gate then enforces the result: a page carrying a recommendation that is not in its register fails POS-001, and a figure that is not in its register fails FIG-002, so a signed chapter cannot drift back to unsigned without the gate saying so.

This pack does not change a page. A confirmed recommendation needs nothing; an amended one needs the prose edited, and the Note column is what the editor works from.